



**CONNECTION TIME DISTRIBUTION**

****

****

**TOTAL CONNECTION TIME (MONTHLY)**







**MEDIAN CONNECTION TIME (HOURS) FOR EACH DAY IN EACH MONTH**


|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday |
| September | - | 7.64 | 5.72 | 3.11 | 8.07 | 3.57 | - |
| October | - | 7.39 | 4.48 | 8.80 | 7.60 | 7.88 | 0.33 |
| November | - | 6.60 | 3.74 | 6.71 | 6.06 | 3.56 | - |
| December | - | 3.18 | 7.06 | 3.08 | 9.34 | 6.34 | 0.70 |
| January | - | 4.70 | 7.45 | 5.13 | 5.14 | 3.98 | 2.17 |


**DISTRIBUTION OF CHARGE TIME**







**CONSUMPTION DISTRIBUTION**





**TOTAL CONSUMPTION (MONTHLY)**







**MEDIAN ENERGY (kWh) USED FOR EACH DAY**


|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Sunday | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday |
| September | - | 22.411 | 11.308 | 11.280 | 11.961 | 11.208 | - |
| October | - | 40.826 | 18.115 | 22.263 | 12.360 | 30.254 | 1.077 |
| November | - | 23.1115 | 15.640 | 14.791 | 14.1330 | 17.2455 | - |
| December | - | 21.285 | 21.011 | 16.229 | 22.917 | 21.327 | 7.239 |
| January | - | 17.6045 | 21.5595 | 21.9175 | 10.8830 | 15.6500 | 20.3670 |


**HOGGING TIME DISTRIBUTION**







**AVERAGE CONNECTION AND CHARGE TIME (MONTHLY)**






**NUMBER OF CHARGE SESSIONS (DAILY)**


****

****


**NUMBER OF CHARGE SESSIONS BY PLUG-IN AND UNPLUGGED TIMES**




**CONNECTION TIME OF EACH EMPLOYEE**




**CHARGE TIME OF EACH EMPLOYEE**




**HOGGING TIME OF EACH EMPLOYEE**




**CHARGE UTILIZATION**




**CONSUMPTION PER MONTH**




**CONSUMPTION PER CHARGE STATION**




**CONNECTION TIME PER CHARGE STATION**




**CHARGE TIME PER CHARGE STATION**




**CAPACITY UTILIZATION**




**NIGHTTIME USERS**




**DAYTIME AND NIGHTIME CONSUMPTION**




**CONSUMPTION PER SESSION PER MONTH**



**CHARGE SESSIONS PER MONTH**





**CHARGE SESSIONS PER CHARGE STATION**





USERS

**DISTRIBUTION OF CONNECTION TIME**





**CONNECTION TIME (MONTHLY)**

****


****


**DISTRIBUTION OF CHARGE TIME**

****


****


**DISTRIBUTION OF CONSUMPTION**







**CONSUMPTION (MONTHLY)**







**DISTRIBUTION OF HOGGING TIME**







**AVERAGE CONNECTION AND BLOCKING TIMES (MONTHLY)**






**NUMBER OF CHARGE SESSIONS**







**PLUG-IN AND PLUG-OUT FREQUENCY**




**CONNECTION TIME**




**CHARGE TIME**




**HOGGING TIME**




**CHARGE UTILIZATION**




**CONSUMPTION PER MONTH**




**CONSUMPTION PER CHARGE POINT**




**CONNECTION TIME PER CHARGE POINT**




**CHARGE TIME PER CHARGE POINT**




**CAPACITY UTILIZATION**




**NIGHTTIME USERS**




**DAYTIME AND NIGHTTIME CONSUMPTION**



**CONSUMPTION PER SESSION PER MONTH**



**CHARGE SESSIONS PER MONTH**

**CHARGE SESSIONS PER CHARGE POINT**

